## List1
Software will read settings from cells E2 to E6. |  |  | measurement properties |  |  | hardware data
Software will read measurement points from collumns A-C and |  |  | AC voltage amplitude | 1 | V | AC source idn | TEKTRONIX,AFG3101C,C010192,SCPI:99.0 FV:1.0.2
will write results into collumns D-H. Sheet must contain keywords |  |  | Sampling frequency | 15000000 | Hz | DC meter idn | HP3458A
START and STOP in collumn A, values of frequency in collumn B, |  |  | AC-DC settle time | 30 | s | Digitizer idn | NI PXI-5922, sn. F22D5B, channel 0
and record length in C. |  |  | AC-DC warm up time | 600 | s
|  |  | DC meter readings | 15
inputs |  |  | results
Command | Signal frequency | Record length | TIme of DC readings | Digitizer amplitude rms |  | DC voltage |  | Calculation |  | DC meter readings
(START, STOP) | Hz | multiple of periods | (time of writing this line into excel) | value (V) | unc (V) | value (V) | unc (V) | for figure |  | ¦---------------->
START | 10000 | 10000 | [5 empty] | 10 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 20000 | 20000 | [5 empty] | 20 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 30000 | 30000 | [5 empty] | 30 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 40000 | 40000 | [5 empty] | 40 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 50000 | 50000 | [5 empty] | 50 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 60000 | 60000 | [5 empty] | 60 | #DIV/0!
STOP | 1000 | 1000 | [6 empty] | #N/A
| 70000 | 70000 | [5 empty] | 70 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 80000 | 80000 | [5 empty] | 80 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 90000 | 90000 | [5 empty] | 90 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 100000 | 100000 | [5 empty] | 100 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 110000 | 110000 | [5 empty] | 110 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 120000 | 120000 | [5 empty] | 120 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 130000 | 130000 | [5 empty] | 130 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 140000 | 140000 | [5 empty] | 140 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 150000 | 150000 | [5 empty] | 150 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 160000 | 160000 | [5 empty] | 160 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 170000 | 170000 | [5 empty] | 170 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 180000 | 180000 | [5 empty] | 180 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 190000 | 190000 | [5 empty] | 190 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 200000 | 200000 | [5 empty] | 200 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 210000 | 210000 | [5 empty] | 210 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 220000 | 220000 | [5 empty] | 220 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 230400 | 230400 | [5 empty] | 230.4 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 240000 | 240000 | [5 empty] | 240 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 250000 | 250000 | [5 empty] | 250 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 260000 | 260000 | [5 empty] | 260 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 270000 | 270000 | [5 empty] | 270 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 280000 | 280000 | [5 empty] | 280 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 290000 | 290000 | [5 empty] | 290 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 300000 | 300000 | [5 empty] | 300 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 310000 | 310000 | [5 empty] | 310 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 320000 | 320000 | [5 empty] | 320 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 330000 | 330000 | [5 empty] | 330 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 340000 | 340000 | [5 empty] | 340 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 350000 | 350000 | [5 empty] | 350 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 360000 | 360000 | [5 empty] | 360 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 370000 | 370000 | [5 empty] | 370 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 380000 | 380000 | [5 empty] | 380 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 390000 | 390000 | [5 empty] | 390 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 400000 | 400000 | [5 empty] | 400 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 410000 | 410000 | [5 empty] | 410 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 420000 | 420000 | [5 empty] | 420 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 429000 | 429000 | [5 empty] | 429 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 440000 | 440000 | [5 empty] | 440 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 450000 | 450000 | [5 empty] | 450 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 460000 | 460000 | [5 empty] | 460 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 470000 | 470000 | [5 empty] | 470 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 480000 | 480000 | [5 empty] | 480 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 490500 | 490500 | [5 empty] | 490.5 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 500000 | 500000 | [5 empty] | 500 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 510000 | 510000 | [5 empty] | 510 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 520000 | 520000 | [5 empty] | 520 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 530000 | 530000 | [5 empty] | 530 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 540000 | 540000 | [5 empty] | 540 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 550000 | 550000 | [5 empty] | 550 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 560000 | 560000 | [5 empty] | 560 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 570000 | 570000 | [5 empty] | 570 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 580000 | 580000 | [5 empty] | 580 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 590000 | 590000 | [5 empty] | 590 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 600000 | 600000 | [5 empty] | 600 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 609600 | 609600 | [5 empty] | 609.6 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 620000 | 620000 | [5 empty] | 620 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 630000 | 630000 | [5 empty] | 630 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 640000 | 640000 | [5 empty] | 640 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 650000 | 650000 | [5 empty] | 650 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 660000 | 660000 | [5 empty] | 660 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 670000 | 670000 | [5 empty] | 670 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 680000 | 680000 | [5 empty] | 680 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 690000 | 690000 | [5 empty] | 690 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 700000 | 700000 | [5 empty] | 700 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 710000 | 710000 | [5 empty] | 710 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 720000 | 720000 | [5 empty] | 720 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 728000 | 728000 | [5 empty] | 728 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 740000 | 740000 | [5 empty] | 740 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 750000 | 750000 | [5 empty] | 750 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 760000 | 760000 | [5 empty] | 760 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 770000 | 770000 | [5 empty] | 770 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 780000 | 780000 | [5 empty] | 780 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 790400 | 790400 | [5 empty] | 790.4 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 800000 | 800000 | [5 empty] | 800 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 810000 | 810000 | [5 empty] | 810 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 820000 | 820000 | [5 empty] | 820 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 830000 | 830000 | [5 empty] | 830 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 840000 | 840000 | [5 empty] | 840 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 850000 | 850000 | [5 empty] | 850 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 860000 | 860000 | [5 empty] | 860 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 870000 | 870000 | [5 empty] | 870 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 880000 | 880000 | [5 empty] | 880 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 888000 | 888000 | [5 empty] | 888 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 900000 | 900000 | [5 empty] | 900 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 910000 | 910000 | [5 empty] | 910 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 920000 | 920000 | [5 empty] | 920 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 930000 | 930000 | [5 empty] | 930 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 940000 | 940000 | [5 empty] | 940 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 950000 | 950000 | [5 empty] | 950 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 960000 | 960000 | [5 empty] | 960 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 969600 | 969600 | [5 empty] | 969.6 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 980000 | 980000 | [5 empty] | 980 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 990000 | 990000 | [5 empty] | 990 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 1000000 | 1000000 | [5 empty] | 1000 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 1005000 | 1005000 | [5 empty] | 1005 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 1020000 | 1020000 | [5 empty] | 1020 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 1020000 | 1020000 | [5 empty] | 1020 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 1050000 | 1050000 | [5 empty] | 1050 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 1050000 | 1050000 | [5 empty] | 1050 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 1060000 | 1060000 | [5 empty] | 1060 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 1065000 | 1065000 | [5 empty] | 1065 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 1080000 | 1080000 | [5 empty] | 1080 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 1092000 | 1092000 | [5 empty] | 1092 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 1100000 | 1100000 | [5 empty] | 1100 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 1110000 | 1110000 | [5 empty] | 1110 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 1125000 | 1125000 | [5 empty] | 1125 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 1125000 | 1125000 | [5 empty] | 1125 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 1144000 | 1144000 | [5 empty] | 1144 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 1155000 | 1155000 | [5 empty] | 1155 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 1155000 | 1155000 | [5 empty] | 1155 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 1180000 | 1180000 | [5 empty] | 1180 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 1180000 | 1180000 | [5 empty] | 1180 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 1194000 | 1194000 | [5 empty] | 1194 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 1200000 | 1200000 | [5 empty] | 1200 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 1206000 | 1206000 | [5 empty] | 1206 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 1212000 | 1212000 | [5 empty] | 1212 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 1240000 | 1240000 | [5 empty] | 1240 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 1245000 | 1245000 | [5 empty] | 1245 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 1250000 | 1250000 | [5 empty] | 1250 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 1255000 | 1255000 | [5 empty] | 1255 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 1275000 | 1275000 | [5 empty] | 1275 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 1275000 | 1275000 | [5 empty] | 1275 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 1300000 | 1300000 | [5 empty] | 1300 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 1300000 | 1300000 | [5 empty] | 1300 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 1300000 | 1300000 | [5 empty] | 1300 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 1320000 | 1320000 | [5 empty] | 1320 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 1332000 | 1332000 | [5 empty] | 1332 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 1336000 | 1336000 | [5 empty] | 1336 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 1350000 | 1350000 | [5 empty] | 1350 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 1365000 | 1365000 | [5 empty] | 1365 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 1365000 | 1365000 | [5 empty] | 1365 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 1375000 | 1375000 | [5 empty] | 1375 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 1400000 | 1400000 | [5 empty] | 1400 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 1400000 | 1400000 | [5 empty] | 1400 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 1416000 | 1416000 | [5 empty] | 1416 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 1416000 | 1416000 | [5 empty] | 1416 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 1430000 | 1430000 | [5 empty] | 1430 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 1440000 | 1440000 | [5 empty] | 1440 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 1440000 | 1440000 | [5 empty] | 1440 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 1450000 | 1450000 | [5 empty] | 1450 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 1475000 | 1475000 | [5 empty] | 1475 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 1480000 | 1480000 | [5 empty] | 1480 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 1494000 | 1494000 | [5 empty] | 1494 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 1500000 | 1500000 | [5 empty] | 1500 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 1506000 | 1506000 | [5 empty] | 1506 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 1515000 | 1515000 | [5 empty] | 1515 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 1540000 | 1540000 | [5 empty] | 1540 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 1540000 | 1540000 | [5 empty] | 1540 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 1550000 | 1550000 | [5 empty] | 1550 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 1560000 | 1560000 | [5 empty] | 1560 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 1575000 | 1575000 | [5 empty] | 1575 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 1575000 | 1575000 | [5 empty] | 1575 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 1592000 | 1592000 | [5 empty] | 1592 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 1600000 | 1600000 | [5 empty] | 1600 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 1608000 | 1608000 | [5 empty] | 1608 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 1620000 | 1620000 | [5 empty] | 1620 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 1625000 | 1625000 | [5 empty] | 1625 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 1650000 | 1650000 | [5 empty] | 1650 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 1650000 | 1650000 | [5 empty] | 1650 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 1660000 | 1660000 | [5 empty] | 1660 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 1670000 | 1670000 | [5 empty] | 1670 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 1680000 | 1680000 | [5 empty] | 1680 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 1700000 | 1700000 | [5 empty] | 1700 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 1700000 | 1700000 | [5 empty] | 1700 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 1716000 | 1716000 | [5 empty] | 1716 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 1716000 | 1716000 | [5 empty] | 1716 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 1728000 | 1728000 | [5 empty] | 1728 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 1750000 | 1750000 | [5 empty] | 1750 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 1750000 | 1750000 | [5 empty] | 1750 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 1750000 | 1750000 | [5 empty] | 1750 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 1770000 | 1770000 | [5 empty] | 1770 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 1775000 | 1775000 | [5 empty] | 1775 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 1800000 | 1800000 | [5 empty] | 1800 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 1800000 | 1800000 | [5 empty] | 1800 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 1800000 | 1800000 | [5 empty] | 1800 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 1820000 | 1820000 | [5 empty] | 1820 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 1820000 | 1820000 | [5 empty] | 1820 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 1848000 | 1848000 | [5 empty] | 1848 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 1850000 | 1850000 | [5 empty] | 1850 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 1860000 | 1860000 | [5 empty] | 1860 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 1875000 | 1875000 | [5 empty] | 1875 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 1875000 | 1875000 | [5 empty] | 1875 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 1890000 | 1890000 | [5 empty] | 1890 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 1900000 | 1900000 | [5 empty] | 1900 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 1900000 | 1900000 | [5 empty] | 1900 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 1925000 | 1925000 | [5 empty] | 1925 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 1925000 | 1925000 | [5 empty] | 1925 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 1950000 | 1950000 | [5 empty] | 1950 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 1950000 | 1950000 | [5 empty] | 1950 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 1950000 | 1950000 | [5 empty] | 1950 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 1976000 | 1976000 | [5 empty] | 1976 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 1984000 | 1984000 | [5 empty] | 1984 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 1992000 | 1992000 | [5 empty] | 1992 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 2000000 | 2000000 | [5 empty] | 2000 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 2008000 | 2008000 | [5 empty] | 2008 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 2025000 | 2025000 | [5 empty] | 2025 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 2025000 | 2025000 | [5 empty] | 2025 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 2040000 | 2040000 | [5 empty] | 2040 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 2040000 | 2040000 | [5 empty] | 2040 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 2075000 | 2075000 | [5 empty] | 2075 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 2075000 | 2075000 | [5 empty] | 2075 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 2075000 | 2075000 | [5 empty] | 2075 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 2100000 | 2100000 | [5 empty] | 2100 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 2100000 | 2100000 | [5 empty] | 2100 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 2100000 | 2100000 | [5 empty] | 2100 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 2125000 | 2125000 | [5 empty] | 2125 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 2125000 | 2125000 | [5 empty] | 2125 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 2145000 | 2145000 | [5 empty] | 2145 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 2145000 | 2145000 | [5 empty] | 2145 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 2160000 | 2160000 | [5 empty] | 2160 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 2160000 | 2160000 | [5 empty] | 2160 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 2184000 | 2184000 | [5 empty] | 2184 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 2184000 | 2184000 | [5 empty] | 2184 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 2200000 | 2200000 | [5 empty] | 2200 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 2200000 | 2200000 | [5 empty] | 2200 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 2220000 | 2220000 | [5 empty] | 2220 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 2220000 | 2220000 | [5 empty] | 2220 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 2240000 | 2240000 | [5 empty] | 2240 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 2250000 | 2250000 | [5 empty] | 2250 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 2250000 | 2250000 | [5 empty] | 2250 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 2275000 | 2275000 | [5 empty] | 2275 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 2275000 | 2275000 | [5 empty] | 2275 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 2280000 | 2280000 | [5 empty] | 2280 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 2310000 | 2310000 | [5 empty] | 2310 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 2310000 | 2310000 | [5 empty] | 2310 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 2325000 | 2325000 | [5 empty] | 2325 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 2325000 | 2325000 | [5 empty] | 2325 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 2340000 | 2340000 | [5 empty] | 2340 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 2360000 | 2360000 | [5 empty] | 2360 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 2360000 | 2360000 | [5 empty] | 2360 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 2375000 | 2375000 | [5 empty] | 2375 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 2375000 | 2375000 | [5 empty] | 2375 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 2388000 | 2388000 | [5 empty] | 2388 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 2400000 | 2400000 | [5 empty] | 2400 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 2412000 | 2412000 | [5 empty] | 2412 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 2412000 | 2412000 | [5 empty] | 2412 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 2424000 | 2424000 | [5 empty] | 2424 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 2436000 | 2436000 | [5 empty] | 2436 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 2455000 | 2455000 | [5 empty] | 2455 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 2465000 | 2465000 | [5 empty] | 2465 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 2475000 | 2475000 | [5 empty] | 2475 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 2485000 | 2485000 | [5 empty] | 2485 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 2490000 | 2490000 | [5 empty] | 2490 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 2500000 | 2500000 | [5 empty] | 2500 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 2510000 | 2510000 | [5 empty] | 2510 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 2515000 | 2515000 | [5 empty] | 2515 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 2525000 | 2525000 | [5 empty] | 2525 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 2550000 | 2550000 | [5 empty] | 2550 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 2550000 | 2550000 | [5 empty] | 2550 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 2550000 | 2550000 | [5 empty] | 2550 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 2580000 | 2580000 | [5 empty] | 2580 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 2580000 | 2580000 | [5 empty] | 2580 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 2600000 | 2600000 | [5 empty] | 2600 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 2600000 | 2600000 | [5 empty] | 2600 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 2600000 | 2600000 | [5 empty] | 2600 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 2625000 | 2625000 | [5 empty] | 2625 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 2625000 | 2625000 | [5 empty] | 2625 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 2640000 | 2640000 | [5 empty] | 2640 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 2650000 | 2650000 | [5 empty] | 2650 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 2664000 | 2664000 | [5 empty] | 2664 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 2672000 | 2672000 | [5 empty] | 2672 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 2680000 | 2680000 | [5 empty] | 2680 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 2688000 | 2688000 | [5 empty] | 2688 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 2700000 | 2700000 | [5 empty] | 2700 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 2700000 | 2700000 | [5 empty] | 2700 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 2730000 | 2730000 | [5 empty] | 2730 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 2730000 | 2730000 | [5 empty] | 2730 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 2730000 | 2730000 | [5 empty] | 2730 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 2750000 | 2750000 | [5 empty] | 2750 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 2750000 | 2750000 | [5 empty] | 2750 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 2775000 | 2775000 | [5 empty] | 2775 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 2775000 | 2775000 | [5 empty] | 2775 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 2800000 | 2800000 | [5 empty] | 2800 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 2800000 | 2800000 | [5 empty] | 2800 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 2800000 | 2800000 | [5 empty] | 2800 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 2820000 | 2820000 | [5 empty] | 2820 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 2840000 | 2840000 | [5 empty] | 2840 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 2840000 | 2840000 | [5 empty] | 2840 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 2850000 | 2850000 | [5 empty] | 2850 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 2860000 | 2860000 | [5 empty] | 2860 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 2860000 | 2860000 | [5 empty] | 2860 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 2880000 | 2880000 | [5 empty] | 2880 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 2880000 | 2880000 | [5 empty] | 2880 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 2900000 | 2900000 | [5 empty] | 2900 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 2900000 | 2900000 | [5 empty] | 2900 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 2925000 | 2925000 | [5 empty] | 2925 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 2925000 | 2925000 | [5 empty] | 2925 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 2950000 | 2950000 | [5 empty] | 2950 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 2950000 | 2950000 | [5 empty] | 2950 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 2950000 | 2950000 | [5 empty] | 2950 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 2973000 | 2973000 | [5 empty] | 2973 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 2982000 | 2982000 | [5 empty] | 2982 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 2991000 | 2991000 | [5 empty] | 2991 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 3000000 | 3000000 | [5 empty] | 3000 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 3009000 | 3009000 | [5 empty] | 3009 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 3018000 | 3018000 | [5 empty] | 3018 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 3027000 | 3027000 | [5 empty] | 3027 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 3040000 | 3040000 | [5 empty] | 3040 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 3040000 | 3040000 | [5 empty] | 3040 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 3054000 | 3054000 | [5 empty] | 3054 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 3080000 | 3080000 | [5 empty] | 3080 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 3080000 | 3080000 | [5 empty] | 3080 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 3080000 | 3080000 | [5 empty] | 3080 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 3100000 | 3100000 | [5 empty] | 3100 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 3100000 | 3100000 | [5 empty] | 3100 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 3125000 | 3125000 | [5 empty] | 3125 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 3125000 | 3125000 | [5 empty] | 3125 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 3150000 | 3150000 | [5 empty] | 3150 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 3150000 | 3150000 | [5 empty] | 3150 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 3150000 | 3150000 | [5 empty] | 3150 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 3180000 | 3180000 | [5 empty] | 3180 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 3180000 | 3180000 | [5 empty] | 3180 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 3180000 | 3180000 | [5 empty] | 3180 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 3200000 | 3200000 | [5 empty] | 3200 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 3200000 | 3200000 | [5 empty] | 3200 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 3225000 | 3225000 | [5 empty] | 3225 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 3240000 | 3240000 | [5 empty] | 3240 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 3240000 | 3240000 | [5 empty] | 3240 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 3250000 | 3250000 | [5 empty] | 3250 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 3250000 | 3250000 | [5 empty] | 3250 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 3280000 | 3280000 | [5 empty] | 3280 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 3280000 | 3280000 | [5 empty] | 3280 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 3300000 | 3300000 | [5 empty] | 3300 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 3300000 | 3300000 | [5 empty] | 3300 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 3310000 | 3310000 | [5 empty] | 3310 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 3320000 | 3320000 | [5 empty] | 3320 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 3330000 | 3330000 | [5 empty] | 3330 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 3340000 | 3340000 | [5 empty] | 3340 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 3350000 | 3350000 | [5 empty] | 3350 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 3360000 | 3360000 | [5 empty] | 3360 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 3375000 | 3375000 | [5 empty] | 3375 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 3375000 | 3375000 | [5 empty] | 3375 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 3400000 | 3400000 | [5 empty] | 3400 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 3400000 | 3400000 | [5 empty] | 3400 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 3408000 | 3408000 | [5 empty] | 3408 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 3432000 | 3432000 | [5 empty] | 3432 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 3432000 | 3432000 | [5 empty] | 3432 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 3432000 | 3432000 | [5 empty] | 3432 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 3456000 | 3456000 | [5 empty] | 3456 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 3456000 | 3456000 | [5 empty] | 3456 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 3456000 | 3456000 | [5 empty] | 3456 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 3480000 | 3480000 | [5 empty] | 3480 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 3500000 | 3500000 | [5 empty] | 3500 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 3500000 | 3500000 | [5 empty] | 3500 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 3500000 | 3500000 | [5 empty] | 3500 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 3525000 | 3525000 | [5 empty] | 3525 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 3540000 | 3540000 | [5 empty] | 3540 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 3540000 | 3540000 | [5 empty] | 3540 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 3550000 | 3550000 | [5 empty] | 3550 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 3550000 | 3550000 | [5 empty] | 3550 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 3575000 | 3575000 | [5 empty] | 3575 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 3575000 | 3575000 | [5 empty] | 3575 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 3600000 | 3600000 | [5 empty] | 3600 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 3600000 | 3600000 | [5 empty] | 3600 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 3600000 | 3600000 | [5 empty] | 3600 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 3625000 | 3625000 | [5 empty] | 3625 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 3640000 | 3640000 | [5 empty] | 3640 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 3640000 | 3640000 | [5 empty] | 3640 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 3640000 | 3640000 | [5 empty] | 3640 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 3640000 | 3640000 | [5 empty] | 3640 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 3680000 | 3680000 | [5 empty] | 3680 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 3680000 | 3680000 | [5 empty] | 3680 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 3700000 | 3700000 | [5 empty] | 3700 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 3700000 | 3700000 | [5 empty] | 3700 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 3700000 | 3700000 | [5 empty] | 3700 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 3720000 | 3720000 | [5 empty] | 3720 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 3735000 | 3735000 | [5 empty] | 3735 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 3735000 | 3735000 | [5 empty] | 3735 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 3750000 | 3750000 | [5 empty] | 3750 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 3765000 | 3765000 | [5 empty] | 3765 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 3765000 | 3765000 | [5 empty] | 3765 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 3780000 | 3780000 | [5 empty] | 3780 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 3800000 | 3800000 | [5 empty] | 3800 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 3800000 | 3800000 | [5 empty] | 3800 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 3800000 | 3800000 | [5 empty] | 3800 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 3810000 | 3810000 | [5 empty] | 3810 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 3840000 | 3840000 | [5 empty] | 3840 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 3840000 | 3840000 | [5 empty] | 3840 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 3850000 | 3850000 | [5 empty] | 3850 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 3850000 | 3850000 | [5 empty] | 3850 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 3875000 | 3875000 | [5 empty] | 3875 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 3875000 | 3875000 | [5 empty] | 3875 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 3900000 | 3900000 | [5 empty] | 3900 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 3900000 | 3900000 | [5 empty] | 3900 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 3900000 | 3900000 | [5 empty] | 3900 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 3924000 | 3924000 | [5 empty] | 3924 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 3936000 | 3936000 | [5 empty] | 3936 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 3944000 | 3944000 | [5 empty] | 3944 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 3952000 | 3952000 | [5 empty] | 3952 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 3964000 | 3964000 | [5 empty] | 3964 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 3972000 | 3972000 | [5 empty] | 3972 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 3980000 | 3980000 | [5 empty] | 3980 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 3992000 | 3992000 | [5 empty] | 3992 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 4000000 | 4000000 | [5 empty] | 4000 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 4008000 | 4008000 | [5 empty] | 4008 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 4020000 | 4020000 | [5 empty] | 4020 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 4028000 | 4028000 | [5 empty] | 4028 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 4036000 | 4036000 | [5 empty] | 4036 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 4050000 | 4050000 | [5 empty] | 4050 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 4050000 | 4050000 | [5 empty] | 4050 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 4064000 | 4064000 | [5 empty] | 4064 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 4080000 | 4080000 | [5 empty] | 4080 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 4080000 | 4080000 | [5 empty] | 4080 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 4100000 | 4100000 | [5 empty] | 4100 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 4125000 | 4125000 | [5 empty] | 4125 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 4125000 | 4125000 | [5 empty] | 4125 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 4125000 | 4125000 | [5 empty] | 4125 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 4150000 | 4150000 | [5 empty] | 4150 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 4150000 | 4150000 | [5 empty] | 4150 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 4150000 | 4150000 | [5 empty] | 4150 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 4175000 | 4175000 | [5 empty] | 4175 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 4175000 | 4175000 | [5 empty] | 4175 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 4200000 | 4200000 | [5 empty] | 4200 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 4200000 | 4200000 | [5 empty] | 4200 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 4200000 | 4200000 | [5 empty] | 4200 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 4225000 | 4225000 | [5 empty] | 4225 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 4230000 | 4230000 | [5 empty] | 4230 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 4250000 | 4250000 | [5 empty] | 4250 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 4250000 | 4250000 | [5 empty] | 4250 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 4260000 | 4260000 | [5 empty] | 4260 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 4260000 | 4260000 | [5 empty] | 4260 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 4290000 | 4290000 | [5 empty] | 4290 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 4290000 | 4290000 | [5 empty] | 4290 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 4290000 | 4290000 | [5 empty] | 4290 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 4320000 | 4320000 | [5 empty] | 4320 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 4320000 | 4320000 | [5 empty] | 4320 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 4320000 | 4320000 | [5 empty] | 4320 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 4350000 | 4350000 | [5 empty] | 4350 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 4350000 | 4350000 | [5 empty] | 4350 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 4375000 | 4375000 | [5 empty] | 4375 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 4375000 | 4375000 | [5 empty] | 4375 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 4375000 | 4375000 | [5 empty] | 4375 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 4400000 | 4400000 | [5 empty] | 4400 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 4400000 | 4400000 | [5 empty] | 4400 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 4400000 | 4400000 | [5 empty] | 4400 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 4425000 | 4425000 | [5 empty] | 4425 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 4425000 | 4425000 | [5 empty] | 4425 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 4440000 | 4440000 | [5 empty] | 4440 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 4440000 | 4440000 | [5 empty] | 4440 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 4440000 | 4440000 | [5 empty] | 4440 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 4480000 | 4480000 | [5 empty] | 4480 | #DIV/0!
| 1000 | 1000 | [6 empty] | #N/A
| 4480000 | 4480000 | [5 empty] | 4480 | #DIV/0!
| 1000 | 1000
| 4500000 | 4500000
| 1000 | 1000
| 4500000 | 4500000
| 1000 | 1000
| 4500000 | 4500000
| 1000 | 1000
| 4520000 | 4520000
| 1000 | 1000
| 4520000 | 4520000
| 1000 | 1000
| 4550000 | 4550000
| 1000 | 1000
| 4550000 | 4550000
| 1000 | 1000
| 4550000 | 4550000
| 1000 | 1000
| 4560000 | 4560000
| 1000 | 1000
| 4600000 | 4600000
| 1000 | 1000
| 4600000 | 4600000
| 1000 | 1000
| 4600000 | 4600000
| 1000 | 1000
| 4620000 | 4620000
| 1000 | 1000
| 4620000 | 4620000
| 1000 | 1000
| 4625000 | 4625000
| 1000 | 1000
| 4650000 | 4650000
| 1000 | 1000
| 4650000 | 4650000
| 1000 | 1000
| 4650000 | 4650000
| 1000 | 1000
| 4680000 | 4680000
| 1000 | 1000
| 4680000 | 4680000
| 1000 | 1000
| 4700000 | 4700000
| 1000 | 1000
| 4700000 | 4700000
| 1000 | 1000
| 4700000 | 4700000
| 1000 | 1000
| 4725000 | 4725000
| 1000 | 1000
| 4725000 | 4725000
| 1000 | 1000
| 4750000 | 4750000
| 1000 | 1000
| 4750000 | 4750000
| 1000 | 1000
| 4750000 | 4750000
| 1000 | 1000
| 4776000 | 4776000
| 1000 | 1000
| 4776000 | 4776000
| 1000 | 1000
| 4800000 | 4800000
| 1000 | 1000
| 4800000 | 4800000
| 1000 | 1000
| 4800000 | 4800000
| 1000 | 1000
| 4824000 | 4824000
| 1000 | 1000
| 4824000 | 4824000
| 1000 | 1000
| 4848000 | 4848000
| 1000 | 1000
| 4848000 | 4848000
| 1000 | 1000
| 4875000 | 4875000
| 1000 | 1000
| 4875000 | 4875000
| 1000 | 1000
| 4875000 | 4875000
| 1000 | 1000
| 4875000 | 4875000
| 1000 | 1000
| 4905000 | 4905000
| 1000 | 1000
| 4915000 | 4915000
| 1000 | 1000
| 4925000 | 4925000
| 1000 | 1000
| 4935000 | 4935000
| 1000 | 1000
| 4940000 | 4940000
| 1000 | 1000
| 4950000 | 4950000
| 1000 | 1000
| 4960000 | 4960000
| 1000 | 1000
| 4970000 | 4970000
| 1000 | 1000
| 4980000 | 4980000
| 1000 | 1000
| 4990000 | 4990000
| 1000 | 1000
| 5000000 | 5000000
| 1000 | 1000
| 5010000 | 5010000
| 1000 | 1000
| 5020000 | 5020000
| 1000 | 1000
| 5030000 | 5030000
| 1000 | 1000
| 5040000 | 5040000
| 1000 | 1000
| 5050000 | 5050000
| 1000 | 1000
| 5060000 | 5060000
| 1000 | 1000
| 5065000 | 5065000
| 1000 | 1000
| 5075000 | 5075000
| 1000 | 1000
| 5100000 | 5100000
| 1000 | 1000
| 5100000 | 5100000
| 1000 | 1000
| 5100000 | 5100000
| 1000 | 1000
| 5125000 | 5125000
| 1000 | 1000
| 5125000 | 5125000
| 1000 | 1000
| 5125000 | 5125000
| 1000 | 1000
| 5160000 | 5160000
| 1000 | 1000
| 5160000 | 5160000
| 1000 | 1000
| 5160000 | 5160000
| 1000 | 1000
| 5160000 | 5160000
| 1000 | 1000
| 5200000 | 5200000
| 1000 | 1000
| 5200000 | 5200000
| 1000 | 1000
| 5200000 | 5200000
| 1000 | 1000
| 5200000 | 5200000
| 1000 | 1000
| 5250000 | 5250000
| 1000 | 1000
| 5250000 | 5250000
| 1000 | 1000
| 5250000 | 5250000
| 1000 | 1000
| 5250000 | 5250000
| 1000 | 1000
| 5280000 | 5280000
| 1000 | 1000
| 5280000 | 5280000
| 1000 | 1000
| 5300000 | 5300000
| 1000 | 1000
| 5300000 | 5300000
| 1000 | 1000
| 5300000 | 5300000
| 1000 | 1000
| 5325000 | 5325000
| 1000 | 1000
| 5325000 | 5325000
| 1000 | 1000
| 5325000 | 5325000
| 1000 | 1000
| 5340000 | 5340000
| 1000 | 1000
| 5375000 | 5375000
| 1000 | 1000
| 5375000 | 5375000
| 1000 | 1000
| 5375000 | 5375000
| 1000 | 1000
| 5400000 | 5400000
| 1000 | 1000
| 5400000 | 5400000
| 1000 | 1000
| 5400000 | 5400000
| 1000 | 1000
| 5400000 | 5400000
| 1000 | 1000
| 5450000 | 5450000
| 1000 | 1000
| 5460000 | 5460000
| 1000 | 1000
| 5460000 | 5460000
| 1000 | 1000
| 5460000 | 5460000
| 1000 | 1000
| 5460000 | 5460000
| 1000 | 1000
| 5460000 | 5460000
| 1000 | 1000
| 5500000 | 5500000
| 1000 | 1000
| 5500000 | 5500000
| 1000 | 1000
| 5500000 | 5500000
| 1000 | 1000
| 5520000 | 5520000
| 1000 | 1000
| 5520000 | 5520000
| 1000 | 1000
| 5550000 | 5550000
| 1000 | 1000
| 5550000 | 5550000
| 1000 | 1000
| 5550000 | 5550000
| 1000 | 1000
| 5550000 | 5550000
| 1000 | 1000
| 5600000 | 5600000
| 1000 | 1000
| 5600000 | 5600000
| 1000 | 1000
| 5600000 | 5600000
| 1000 | 1000
| 5600000 | 5600000
| 1000 | 1000
| 5625000 | 5625000
| 1000 | 1000
| 5625000 | 5625000
| 1000 | 1000
| 5640000 | 5640000
| 1000 | 1000
| 5640000 | 5640000
| 1000 | 1000
| 5650000 | 5650000
| 1000 | 1000
| 5680000 | 5680000
| 1000 | 1000
| 5680000 | 5680000
| 1000 | 1000
| 5680000 | 5680000
| 1000 | 1000
| 5700000 | 5700000
| 1000 | 1000
| 5720000 | 5720000
| 1000 | 1000
| 5720000 | 5720000
| 1000 | 1000
| 5720000 | 5720000
| 1000 | 1000
| 5750000 | 5750000
| 1000 | 1000
| 5750000 | 5750000
| 1000 | 1000
| 5760000 | 5760000
| 1000 | 1000
| 5775000 | 5775000
| 1000 | 1000
| 5775000 | 5775000
| 1000 | 1000
| 5775000 | 5775000
| 1000 | 1000
| 5800000 | 5800000
| 1000 | 1000
| 5800000 | 5800000
| 1000 | 1000
| 5800000 | 5800000
| 1000 | 1000
| 5840000 | 5840000
| 1000 | 1000
| 5850000 | 5850000
| 1000 | 1000
| 5850000 | 5850000
| 1000 | 1000
| 5850000 | 5850000
| 1000 | 1000
| 5875000 | 5875000
| 1000 | 1000
| 5875000 | 5875000
| 1000 | 1000
| 5900000 | 5900000
| 1000 | 1000
| 5900000 | 5900000
| 1000 | 1000
| 5900000 | 5900000
| 1000 | 1000
| 5922000 | 5922000
| 1000 | 1000
| 5934000 | 5934000
| 1000 | 1000
| 5940000 | 5940000
| 1000 | 1000
| 5952000 | 5952000
| 1000 | 1000
| 5964000 | 5964000
| 1000 | 1000
| 5970000 | 5970000
| 1000 | 1000
| 5982000 | 5982000
| 1000 | 1000
| 5988000 | 5988000
| 1000 | 1000
| 6000000 | 6000000
| 1000 | 1000
| 6012000 | 6012000
| 1000 | 1000
| 6018000 | 6018000
| 1000 | 1000
| 6030000 | 6030000
| 1000 | 1000
| 6036000 | 6036000
| 1000 | 1000
| 6048000 | 6048000
| 1000 | 1000
| 6060000 | 6060000
| 1000 | 1000
| 6066000 | 6066000
| 1000 | 1000
| 6078000 | 6078000
| 1000 | 1000
| 6090000 | 6090000
| 1000 | 1000
| 6096000 | 6096000
| 1000 | 1000
| 6108000 | 6108000
| 1000 | 1000
| 6114000 | 6114000
| 1000 | 1000
| 6125000 | 6125000
| 1000 | 1000
| 6150000 | 6150000
| 1000 | 1000
| 6150000 | 6150000
| 1000 | 1000
| 6150000 | 6150000
| 1000 | 1000
| 6175000 | 6175000
| 1000 | 1000
| 6175000 | 6175000
| 1000 | 1000
| 6200000 | 6200000
| 1000 | 1000
| 6200000 | 6200000
| 1000 | 1000
| 6200000 | 6200000
| 1000 | 1000
| 6225000 | 6225000
| 1000 | 1000
| 6225000 | 6225000
| 1000 | 1000
| 6250000 | 6250000
| 1000 | 1000
| 6250000 | 6250000
| 1000 | 1000
| 6250000 | 6250000
| 1000 | 1000
| 6275000 | 6275000
| 1000 | 1000
| 6275000 | 6275000
| 1000 | 1000
| 6300000 | 6300000
| 1000 | 1000
| 6300000 | 6300000
| 1000 | 1000
| 6300000 | 6300000
| 1000 | 1000
| 6325000 | 6325000
| 1000 | 1000
| 6325000 | 6325000
| 1000 | 1000
| 6350000 | 6350000
| 1000 | 1000
| 6360000 | 6360000
| 1000 | 1000
| 6360000 | 6360000
| 1000 | 1000
| 6375000 | 6375000
| 1000 | 1000
| 6375000 | 6375000
| 1000 | 1000
| 6400000 | 6400000
| 1000 | 1000
| 6400000 | 6400000
| 1000 | 1000
| 6400000 | 6400000
| 1000 | 1000
| 6400000 | 6400000
| 1000 | 1000
| 6450000 | 6450000
| 1000 | 1000
| 6450000 | 6450000
| 1000 | 1000
| 6450000 | 6450000
| 1000 | 1000
| 6450000 | 6450000
| 1000 | 1000
| 6450000 | 6450000
| 1000 | 1000
| 6500000 | 6500000
| 1000 | 1000
| 6500000 | 6500000
| 1000 | 1000
| 6500000 | 6500000
| 1000 | 1000
| 6500000 | 6500000
| 1000 | 1000
| 6500000 | 6500000
| 1000 | 1000
| 6540000 | 6540000
| 1000 | 1000
| 6540000 | 6540000
| 1000 | 1000
| 6560000 | 6560000
| 1000 | 1000
| 6560000 | 6560000
| 1000 | 1000
| 6580000 | 6580000
| 1000 | 1000
| 6580000 | 6580000
| 1000 | 1000
| 6600000 | 6600000
| 1000 | 1000
| 6600000 | 6600000
| 1000 | 1000
| 6600000 | 6600000
| 1000 | 1000
| 6620000 | 6620000
| 1000 | 1000
| 6625000 | 6625000
| 1000 | 1000
| 6640000 | 6640000
| 1000 | 1000
| 6660000 | 6660000
| 1000 | 1000
| 6660000 | 6660000
| 1000 | 1000
| 6660000 | 6660000
| 1000 | 1000
| 6680000 | 6680000
| 1000 | 1000
| 6680000 | 6680000
| 1000 | 1000
| 6700000 | 6700000
| 1000 | 1000
| 6700000 | 6700000
| 1000 | 1000
| 6720000 | 6720000
| 1000 | 1000
| 6720000 | 6720000
| 1000 | 1000
| 6750000 | 6750000
| 1000 | 1000
| 6750000 | 6750000
| 1000 | 1000
| 6750000 | 6750000
| 1000 | 1000
| 6760000 | 6760000
| 1000 | 1000
| 6780000 | 6780000
| 1000 | 1000
| 6800000 | 6800000
| 1000 | 1000
| 6800000 | 6800000
| 1000 | 1000
| 6825000 | 6825000
| 1000 | 1000
| 6825000 | 6825000
| 1000 | 1000
| 6825000 | 6825000
| 1000 | 1000
| 6825000 | 6825000
| 1000 | 1000
| 6825000 | 6825000
| 1000 | 1000
| 6875000 | 6875000
| 1000 | 1000
| 6875000 | 6875000
| 1000 | 1000
| 6875000 | 6875000
| 1000 | 1000
| 6900000 | 6900000
| 1000 | 1000
| 6900000 | 6900000
| 1000 | 1000
| 6900000 | 6900000
| 1000 | 1000
| 6900000 | 6900000
| 1000 | 1000
| 6900000 | 6900000
| 1000 | 1000
| 6960000 | 6960000
| 1000 | 1000
| 6960000 | 6960000
| 1000 | 1000
| 6960000 | 6960000
| 1000 | 1000
| 6960000 | 6960000
| 1000 | 1000
| 7000000 | 7000000
| 1000 | 1000
| 7000000 | 7000000
| 1000 | 1000
| 7000000 | 7000000
| 1000 | 1000
| 7000000 | 7000000
| 1000 | 1000
| 7000000 | 7000000
| 1000 | 1000
| 7050000 | 7050000
| 1000 | 1000
| 7050000 | 7050000
| 1000 | 1000
| 7050000 | 7050000
| 1000 | 1000
| 7050000 | 7050000
| 1000 | 1000
| 7080000 | 7080000
| 1000 | 1000
| 7080000 | 7080000
| 1000 | 1000
| 7080000 | 7080000
| 1000 | 1000
| 7100000 | 7100000
| 1000 | 1000
| 7100000 | 7100000
| 1000 | 1000
| 7125000 | 7125000
| 1000 | 1000
| 7125000 | 7125000
| 1000 | 1000
| 7150000 | 7150000
| 1000 | 1000
| 7150000 | 7150000
| 1000 | 1000
| 7150000 | 7150000
| 1000 | 1000
| 7150000 | 7150000
| 1000 | 1000
| 7200000 | 7200000
| 1000 | 1000
| 7200000 | 7200000
| 1000 | 1000
| 7200000 | 7200000
| 1000 | 1000
| 7200000 | 7200000
| 1000 | 1000
| 7200000 | 7200000
| 1000 | 1000
| 7250000 | 7250000
| 1000 | 1000
| 7250000 | 7250000
| 1000 | 1000
| 7250000 | 7250000
| 1000 | 1000
| 7250000 | 7250000
| 1000 | 1000
| 7250000 | 7250000
| 1000 | 1000
| 7290000 | 7290000
| 1000 | 1000
| 7300000 | 7300000
| 1000 | 1000
| 7300000 | 7300000
| 1000 | 1000
| 7300000 | 7300000
| 1000 | 1000
| 7320000 | 7320000
| 1000 | 1000
| 7335000 | 7335000
| 1000 | 1000
| 7350000 | 7350000
| 1000 | 1000
| 7350000 | 7350000
| 1000 | 1000
| 7375000 | 7375000
| 1000 | 1000
| 7375000 | 7375000
| 1000 | 1000
| 7375000 | 7375000
| 1000 | 1000
| 7400000 | 7400000
| 1000 | 1000
| 7400000 | 7400000
| 1000 | 1000
| 7400000 | 7400000
| 1000 | 1000
| 7425000 | 7425000
| 1000 | 1000
| 7425000 | 7425000
| 1000 | 1000
| 7440000 | 7440000
| 1000 | 1000
| 7455000 | 7455000
| 1000 | 1000
| 7455000 | 7455000
| 1000 | 1000
| 7470000 | 7470000
| 1000 | 1000
| 7485000 | 7485000
| 1000 | 1000
| 7485000 | 7485000
| 1000 | 1000
| 7500000 | 7500000
| 1000 | 1000
Note on D2: labina: Real sine amplitude, i.e. A*sin(w*t). It is NOT rms or peak-to-peak value.